## Sheet1
1 | N4DCS.4ECSGC002AI | 发电机出口电压
2 | N4DCS.4STMP001AI | 发电机出口频率
3 | N4DCS.4ITMP004AI | 发电机出口电流
4 | N4DCS.4ETMP002AI | A相电压
5 | N4DCS.4ECSGC002AI | B相电压
6 | N4DCS.4ECSGC003AI | C相电压
7 | N4DCS.4ITMP005AI | A相电流
8 | N4DCS.4ITMP004AI | B相电流
9 | N4DCS.4ITMP003AI | C相电流
10 | N4DCS.4JTMP010AI | 有功
11 | N4DCS.4MVAR | 无功
12 | N4DCS.4JTMP015AI | 功率因数
13 | N4DCS.4ETMP016AI | 励磁电压
14 | N4DCS.4ITMP015AI | 励磁电流
15 | N4DCS.4ECSGC001AI | 负序电流
16 | N4DCS.4TEAP601AI | 厂高变X绕组温度
17 | N4DCS.4TEAP602AI | 厂高变Y绕组温度
18 | N4DCS.4ITAP002AI | 4A MC进线电流
19 | N4DCS.4ETAP014AI | 4A MC进线电压
20 | N4DCS.4JTAP004AI | 4A MC进线功率
21 | N4DCS.4ITAP001AI | 4B MC进线电流
22 | N4DCS.4ETAP013AI | 4B MC进线电压
23 | N4DCS.4JTAP003AI | 4B MC进线功率
24 | N4DCS.4ITAP008AI | 3C MC至4A MC电流
25 | N4DCS.4JTAP010AI | 3C MC至4A MC功率
26 | N4DCS.4ITAP007AI | 4C MC至4B MC电流
27 | N4DCS.4JTAP009AI | 4C MC至4B MC功率
28 | N4DCS.4ETAP014AI | 4A MC母线电压
29 | N4DCS.4ETAP013AI | 4B MC母线电压
30 | N4DCS.4ITAP051AI | 4A厂低变出线电流
31 | N4DCS.4ITAP052AI | 4B厂低变出线电流
32 | N4DCS.4ITAP069AI | 4A除尘变出线电流
33 | N4DCS.4ITAP068AI | 4B除尘变出线电流
34 | N4DCS.4ECSMC014AI | 4B段脱硫母线电流
35 | N4DCS.4ITAP081AI | 4T11MCC电流
36 | N4DCS.4ITAP084AI | 4T12MCC电流
37 | N4DCS.4ITAP083AI | 4T13MCC电流
38 | N4DCS.4ITAP071AI | 4B11MCC电流
39 | N4DCS.4ITAP074AI | 4B12MCC电流
40 | N4DCS.4ITAP077AI | 4A凝结水MCC电流
41 | N4DCS.4ITAP087AI | 4N/E电流
42 | N4DCS.4ITAP099AI | 除尘4、B段联络电流
43 | N4DCS.4ETAP096AI | 4P1电压
44 | N4DCS.4ETAP097AI | 4P2电压
45 | N4DCS.4ITAP082AI | 4T21MCC电流
46 | N4DCS.4ITAP085AI | 4T22MCC电流
47 | N4DCS.4ITAP086AI | 4T23MCC电流
48 | N4DCS.4ITAP073AI | 4B21MCC电流
49 | N4DCS.4ITAP072AI | 4B22MCC电流
50 | N4DCS.4ITAP078AI | 4B凝结水MCC电流
51 | N4DCS.4ITAP075AI | 4A PC母线电流
52 | N4DCS.4ITAP111AI | 4A PC母线电压
53 | N4DCS.4ITAP076AI | 4B PC母线电流
54 | N4DCS.4ETAP093AI | 4B PC母线电压
55 | N4DCS.4ETDG503AI | #4柴油发电机电压
56 | N4DCS.4ITDG502AI | #4柴油发电机电流
57 | N4DCS.4ECSDG001AI | #4柴油发电机频率
58 | N4DCS.4JTDG501AI | #4柴油发电机输出功率
59 | N4DCS.4ETAP088AI | #4 N/E电压
60 | N4DCS.4ETAP088AI | #3 N/E电压
61 | N4DCS.4ECSDC003AI | #4 DC250V母线电压
62 | N4DCS.4ECSDC001AI | #4 DC125V A段母线电压
63 | N4DCS.4ECSDC002AI | #4 DC125V B段母线电压
64 | N4DCS.4ETIP001AI | #4 UPS母线电压
65 | N4DCS.4ECSGC013DI | 22043
66 | N4DCS.4ECSGC015DI | 22044
67 | N4DCS.4ECSMT002DI | 240
68 | N4DCS.4ECSGC001DI | 2204
69 | N4DCS.4ECSGE003DI | Q02
70 | N4DCS.4ZAAP02EAADI | 642A
71 | N4DCS.4ZAAP02EBADI | 642B
72 | N4DCS.4ZAAP02EABDI | 643A
73 | N4DCS.4ZAAP02EBBDI | 643B
74 | N4DCS.4AVCONDO | AVC
75 | N4DCS.4ECSGE007DO | PSS
76 | N4DCS.4ZAAP02EACDI | 441A
77 | N4DCS.4ECSPC001DI | 442A
78 | N4DCS.4ZAAP02EBCDI | 441B
79 | N4DCS.4ECSPC011DI | 442B
80 | N4DCS.4ZAAP02EADDI | 441PA
81 | N4DCS.4ZAAP06EAADI | 442PA
82 | N4DCS.4ZAAP02EBDDI | 441PB
83 | N4DCS.4ZAAP06EBADI | 442PB
84 | N4DCS.4ZAAP06EAEDI | 443P
85 | N4DCS.4ECSPC007DI | 443A
86 | N4DCS.4ECSPC017DI | 443B
87 | N4DCS.4ECSMC029DI | 64BFS
88 | N4DCS.4ZAAP04EA1CDI | 4T11MCC
89 | N4DCS.4ZAAP04EB1BDI | 4T12MCC
90 | N4DCS.4ZAAP04EA1EDI | 4T13MCC
91 | N4DCS.4ZAAP04EA1DDI | 4B11MCC
92 | N4DCS.4ZAAP04EB1CDI | 4B12MCC
93 | N4DCS.4ZAAP04EA1GDI | 4A凝结水MCC
94 | N4DCS.4ECSPC025DI | 542
95 | N4DCS.4ZAAP04EB2CDI | 4T21MCC
96 | N4DCS.4ZAAP04EA2BDI | 4T22MCC
97 | N4DCS.4ZAAP04EB2ADI | 4T23MCC
98 | N4DCS.4ZAAP04EA2CDI | 4B21MCC
99 | N4DCS.4ZAAP04EB2BDI | 4B22MCC
100 | N4DCS.4ZAAP04EA2DDI | 4B凝结水MCC
101 | N4DCS.4ZADG02EADI | 541
102 | N4DCS.4ZADG02EDDI | 543
103 | N4DCS.4ECSDG007DI | 4DG
104 | N4DCS.4ECSNE003DI | 542N
105 | N4DCS.4ECSNE006DI | 543N
106 | N4DCS.4ECSGC013DI | 22043
107 | N4DCS.4ECSGC015DI | 22044
108 | N4DCS.4ECSMT002DI | 240
109 | 4AVCONDO.UNIT4 | AVC
110 | 4ECSGE007DO.UNIT4 | PSS
111 | 4ECSPC001DI.UNIT4 | 442A
112 | 4ECSPC011DI.UNIT4 | 442B